## Banner
Modelling Tool for Evaluating Wastewater Reuse Options for Agricultural Purposes
© University of Leeds.
Authors: Manal Elgallal, Louise Fletcher, and Barbara Evans
The purpose of this tool is to help decision- maker to select the most effective wastewater management option(s) for reuse in agriculture
This tool combine three aspect:
environmental risk assessment: assessing different wastewater reuse option for salinity and excessive nitrogen management.
health risk assessment: which incorporate the results of Quantitative Microbial Risk Assessment and Monte Carlo computer program MC-QMRA.
Costs -benefits analysis: calculating life cycle costs and potential benefits of wastewater reuse strategies to decide which of these management strategies are economically justified
PLEASE NOTE: This is planning tool should NOT be used for detailed risk assessment, costing and design purposes. Thus, numeric values that generated only provide a broad indication for comparing and prioritizing agricultural activities and wastewater management strategies. Users may need to estimate some key data required by the tool and should be aware that the results are only indicative and dependent on the quality of the data input.
How to Use: this tool is divided into 4 sections, variable , Input Data, Results Calculations,
Variable:
This sheet for selecting wastewater management option and changing some key variable for particular management strategy
Input Data:
(risk assessment) Key input data for salinity management (including: crops water requirement, irrigation efficiency, salinity level in water supply and salt tolerance threshold of crops), fertiliser demand and excessive nutrient management (including nutrient level in wastewater, crops nutrient uptake/remove, nutrient in soil, chemical fertiliser), QMRA simulation results, and finally general information needed for life cycle costs ( such as population, wastewater consumption per capital, min annual wages). The user may enter desired values in this section.
(costs-benefits) Key input data for costs and benefits analysis. The user may enter desired values in this section.
Calculations :
information from Input Data sections are used to calculate the relevant values for which are presented in the Calculations section.
Results:
Risk assessment results summary: summarise (crops water requirement, leaching demand, irrigation water quality, nutrient from wastewater, chemical fertiliser demands)
Costs-benefits results: summarise costs and benefits results (such as crops yield, capital and operational costs, total costs and benefits, net benefits, benefit costs ratio and internal return rate) in addition to land use per crops, total land used, total volume of water supply.
QMRA: provide the results of health risk assessment as total DALY Loss

## Variable
<--Yellow Boxes Are For variables
Enviromental Risk Assessment |  |  | Health Risk assessment
select season | spring-summer season |  | select Wastewater Reuse Type | Unrestricted Irrigation
select water supply | T4 | MMR | Affected Population | 30%
select blending percentage | 100% | 0% | DALY losses per case of disease |  | Disease/Infection Ratio
select Max leaching LR % | 25% |  | Norovirus | 0.012 | 0.8
select Yield % | 100 |  | ascaris | 0.054 | 1
irrigation Water supply
local wells | GW |  | Costs and Benefits Analysis
Man made River supply | MMR |  | select Discount Rate (%)--> | 3%
conventional activated sludge | T1 |  | select Project Life (30 yrs max)--> | 30
on site( Three-tank system ) | T2
on site(Three-tank system +sand Filter) | T3
septic tank+ (WSP) | T4
treatment plant (WSP) | T5
treatment plant (Conventional activated sludge+ disinfection) | T6
Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | T7
Activated sludge+ Ultrfiltration+ reverse osmosis | T8
crops | select irrigation method | select Portion of Area %
wheat | sprinkle | 25%
barley | sprinkle | 25%
peas* | drip
broad beans* | drip
oat | drip | 30%
potato | drip | 10%
onion | drip
lettuce and Green-Leaf Crops | drip | 5%
carrot | drip | 2.5%
Radish | drip | 2.5%
Millets | sprinkle
tomato | drip | 20%
water melon | drip
cucumber | drip
eggplant | drip
pepper | drip
cauliflower | drip
olive tree | drip
palm tree | drip
alfalfa* | sprinkle
manures application
quantity ton/ha | type | N loss | P,k loss
0 | cattle | 70% | 15%
chemical fertiliser
N kg/ha | P2O5 kg/ha | K2O kg/ha
Urea | Diammonium phosphate | Potassium sulphate

## inputdata
General Information
| <--Yellow Boxes Are For Data Input |  | farms worker population | 2728
|  |  | population | 500000
|  |  | population growth rate | 0.0118
|  |  | wastewater per capital | 0.24
irrigation efficiency |  |  | mim annual wage US$ | 4560
furrow | 60%
sprinkle | 75% | fall- winter season (September-February) |  | spring -summer season (March -August)
drip | 90%
| Annual crop | fall -winter season | spring-summer season | reduction factor of ETc | salt tolerance threshold |  |  |  | nutrients uptake/removal by crops |  |  | Yield Goal
crops | ETc m3/ha/year | ETc m3/ha/season | ETc m3/ha/season2 | (Kr) | minEce ds/m 100% yield | maxEce ds/m 0% yield | slop % | Ece ds/m yield% 100 | N kg/ton | P2O5 kg/ton | K 2Okg/ton | ton/ha | yield | unite | price | unit | yield 2 | unite 3 | price US$ | unit4 | season per year
wheat | - | 4940 | - | 1 | 6 | 20 | 7.1 | 6 | 13.6 | 4 | 18.4 | 13.7 | 6.7 | ton(grain/hectare | 760 | US$/ton | 7 | ton-hay/ha | 380 | US$/ton | 1
barley | - | 3610 | - | 1 | 8 | 28 | 5 | 8 | 11 | 4.6 | 18 | 11 | 6.8 | ton(grain/hectare | 570 | US$/ton | 4.2 | ton-hay/ha | 380 | US$/ton | 1
peas* | - | 3240 | - | 1 | 3.4 | 13 | 10.6 | 3.4 | 0 | 11.17 | 32.5 | 6 | 6 | ton/ha | 6840 | US$/ton |  |  |  |  | 1
broad beans* | - | 3230 | - | 1 | 1.5 | 12 | 6.9 | 1.5 | 0 | 14 | 31 | 5 | 5 | ton/ha | 3040 | US$/ton |  |  |  |  | 1
oat | - | 3040 | - | 1 | 5.2 | 20.4 | 6.6 | 5.2 | 14 | 5.1 | 24 | 9.8 | 9.8 | ton/ha | 646 | US$/ton |  |  |  |  | 1
potato | - | 3920 | - | 1 | 1.7 | 10 | 12 | 1.7 | 5 | 0.8 | 6.7 | 30 | 30 | ton/ha | 1900 | US$/ton |  |  |  |  | 1
onion | - | 3910 | 5410 | 1 | 1.2 | 7.4 | 16 | 1.2 | 2.5 | 1 | 2.7 | 30 | 30 | ton/ha | 1140 | US$/ton |  |  |  |  | 1
lettuce and Green-Leaf Crops | - | 4520 | 3060 | 1 | 1.3 | 9 | 13 | 1.3 | 3.8 | 1.2 | 7.2 | 30 | 30 | ton/ha | 760 | US$/ton |  |  |  | US$/ton | 2
carrot | - | 1900 | 3860 | 1 | 1 | 8.1 | 14 | 1 | 2.9 | 1.7 | 4.1 | 25 | 25 | ton/ha | 1140 | US$/ton |  |  |  | US$/ton | 2
Radish | - | 930 | 1220 | 1 | 1.2 | 8.9 | 13 | 1.2 | 14.5 | 4.7 | 20.5 | 20 | 20 | ton/ha | 380 | US$/ton |  |  |  | US$/ton | 2
Millets | - | - | 4920 | 1 | 6 | 18 | 8.3 | 6 | 35.7 | 10.2 | 28 | 1.2 | 1.2 | ton/ha | 6080 | US$/ton |  |  |  |  | 1
tomato | - | - | 5790 | 1 | 2.5 | 13 | 9.9 | 2.5 | 6 | 1.7 | 11 | 27 | 27 | ton/ha | 760 | US$/ton |  |  |  |  | 1
water melon | - | - | 6850 | 1 | 2 | 7.8 | 17 | 2 | 3.7 | 1.1 | 6.7 | 15 | 15 | ton/ha | 1140 | US$/ton |  |  |  |  | 1
cucumber | - | - | 3910 | 1 | 2.5 | 10 | 13 | 2.5 | 2 | 1.4 | 3.5 | 13 | 13 | ton/ha | 1520 | US$/ton |  |  |  |  | 1
eggplant | - | - | 7890 | 1 | 1.1 | 15.5 | 6.9 | 1.1 | 5.2 | 1.2 | 8.5 | 14 | 14 | ton/ha | 760 | US$/ton |  |  |  |  | 1
pepper | - | - | 7690 | 1 | 1.5 | 8.6 | 14 | 1.5 | 3.3 | 0.79 | 4.4 | 11 | 11 | ton/ha | 1520 | US$/ton |  |  |  |  | 1
cauliflower | - | - | 4350 | 1 | 2.7 | 10.7 | 12.5 | 2.7 | 5.3 | 1.8 | 8 | 10 | 10 | ton/ha | 760 | US$/ton |  |  |  |  | 1
olive tree | 6580 | - | - | 0.8 | 4 | 12 | 12 | 4 | 6.8 | 1.8 | 13 | 2.3 | 120 | litter(oil)/ha | 4.94 | US$/litter oil |  |  |  |  | 1
palm tree | 12980 | - | - | 0.8 | 4 | 32 | 3.6 | 4 | 3.2 | 0.92 | 7.8 | 12 | 12 | ton/ha | 1900 | US$/ton |  |  |  | US$/ton | 1
alfalfa* | 12190 | - | - | 1 | 2 | 16 | 7.3 | 2 | 20 | 9 | 37 | 15 | 15 | ton/ha | 760 | US$/ton |  |  |  | US$/ton | 1
Median infection risk pppy
|  | water Quality |  |  |  | Q |  | Unrestricted Irrigation |  | Restricted irrigation
irrigation Water supply |  | Ecw ds/m | NO3-N+NH4-N mg/l | PO4-P mg/l | K mg/l | million m3/year |  | Norovirus | Ascaris | Norovirus | Ascaris
local wells | GW | 4.5 | 0 | 0 | 0 | 18.79 |  | 0 | 0 | 0 | 0
Man made River supply | MMR | 1.05 | 0 | 0 | 0 | 9.86 |  | 0 | 0 | 0 | 0
conventional activated sludge | T1 | 4 | 25 | 7 | 50 | 9.86 |  | 0.58 | 0.022 | 0.56 | 0.0073
on site( Three-tank system ) | T2 | 4 | 45 | 9 | 50 | 10.95 |  | 0.58 | 0.022 | 0.56 | 0.0073
on site(Three-tank system +sand Filter) | T3 | 4 | 25 | 6.5 | 50 | 10.95 |  | 0.0086 | 2.3e-05 | 0.01 | 7.4e-05
septic tank+ (WSP) | T4 | 4 | 21 | 6.5 | 50 | 30.24 |  | 0.086 | 0.0023 | 0.099 | 0.00074
treatment plant (WSP) | T5 | 4 | 15 | 6.5 | 50 | 30.66 |  | 0.086 | 0.0023 | 0.099 | 0.00074
treatment plant (Conventional activated sludge+ disinfection) | T6 | 4 | 25 | 7 | 50 | 30.66 |  | 0.0086 | 0.0023 | 0.01 | 0.00074
Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | T7 | 4 | 8 | 9 | 50 | 30.66 |  | 0.0086 | 0.0023 | 0.01 | 0.00074
Activated sludge+ Ultrfiltration+ reverse osmosis | T8 | 0.6 | 1 | 0.5 | 1 | 30.66 |  | 8.6e-06 | 2.3e-05 | 1.1e-05 | 7.4e-08
Fertilizer | Composition e.g(10:10:10)
| N | P2O5 | K2O
P Fertilizer
Monoammonium phosphate | 11 | 52 | 0
Diammonium phosphate | 18 | 46 | 0
Urea ammonium phosphate | 44 | 17 | 0
Triple superphosphate | 0 | 46 | 0 | [6 empty] | nutrients available from soil
Superphosphate | 0 | 20 | 0 | [6 empty] | P kg/h
K fertilizer | [9 empty] | K kg/h
Potassium nitrate | 13 | 0 | 44 | [6 empty] | N kg/h
Potassium sulphate | 0 | 0 | 50
N fertilizer | [9 empty] | Manures | nutrients contents % |  |  | Availability of nutrients %
Urea | 46 | 0 | 0 | [7 empty] | N | P | K | (%) available N in the first year | (%) available P, K in the first year
Urea-ammonium nitrate (UAN) | 28 | 0 | 0 | [6 empty] | Poultry | 0.9% | 0.22% | 0.66% | 70% | 90%
Ammonium sulphate | 21 | 0 | 0 | [6 empty] | sheep | 0.9% | 0.22% | 0.22% | 30% | 90%
Ammonium nitrate | 33 | 0 | 0 | [6 empty] | cattle | 0.5% | 0.13% | 0.41% | 30% | 90%
`
Note on P13: this the grain yield
Note on P14: grain yield
Note on R13: this is the hay yield
Note on R14: hay yield
* legumes such as alfalfa ,peas,boad beans take most of her nitrogen from the air

## inputdata(costs-benefits)
on-site facilities
Elements
House size (persons) | persons | 6
Septic tank | Liter | 5400
Storage tank | Liter | 24,00
Cost of installation | US$ | 3000
Emptying
Element | Unite | Rate
Skilled Labor | US$/month | 380
Working hours (2 shift) | hours | 16
Working days per week | Day | 6
Average Distance between households and potential treatment sites | km | 10
Travel speed | Km/hour | 30
Loading/Emptying Time | Mints | 60
Size of truck | Liter | 15000
Capital cost of truck | US$ | 45000
Capital maintenance/ replacement period | years | 15
Capital maintenance cost | % capital costs | 100%
Operational wear and tear | % capital costs | 15%
Fuel consumption | Liter/km | 0.2
Fuel costs | US$/Liter | 0.16
Totla house | 168000
house per truck | 10
number of truck | 560
labour | 1120
wastewater volume m3 | 30240000
Irrigation water supply options |  | year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  | discriptions | Capital costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs | O&M costs
local wells | GW
Total
Man made River supply | MMR | Transport pipeline and concert tank for break pressure andInternal distribution Network to farm gate | 79251545.448 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909 | 1585030.909
|  | marginal cost from second stage of MMR |  | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000
|  | Total | 79251545.448 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909
conventional activated sludge | T1
Total
on site( Three-tank system ) | T2
Total
on site(Three-tank system +sand Filter) | T3
Total
septic tank+ (WSP) | T4 | on-site facilities | 0: 504000000; 15: 25200000
|  | truck | 25200000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000 | 3780000
|  | labour |  | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200 | 5107200
|  | fuel |  | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160 | 1308160
|  | new treatment plants (WSP) | 8750000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000
|  | Total | 537950000 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 35465360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360
treatment plant (WSP) | T5 | new treatment plants | 25000000 | 140000 | 141652 | 143323.4936 | 145014.7108 | 146725.8844 | 148457.2498 | 150209.0454 | 151981.5121 | 153774.894 | 155589.4377 | 157425.3931 | 159283.0127 | 161162.5523 | 163064.2704 | 164988.4288 | 166935.2922 | 168905.1287 | 170898.2092 | 172914.8081 | 174955.2028 | 177019.6742 | 179108.5064 | 181221.9867 | 183360.4062 | 185524.059 | 187713.2429 | 189928.2591 | 192169.4126 | 194437.0117 | 196731.3684
|  | wastwater collection(sewerage network) | 371161372.4 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448
|  | wastewater storage and convey | $47,427,593.43 | 1549328.991 | 1566501.8731 | 1583877.3952 | 1601457.9485 | 1619245.9523 | 1637243.8545 | 1655454.132 | 1673879.2908 | 1692521.8664 | 1711384.4244 | 1730469.5606 | 1749779.9014 | 1769318.1043 | 1789086.8579 | 1809088.8828 | 1829326.9316 | 1849803.7894 | 1870522.2742 | 1891485.237 | 1912695.5628 | 1934156.1704 | 1955870.0132 | 1977840.0794 | 2000069.3923 | 2022561.0112 | 2045318.0311 | 2068343.5839 | 2091640.8382 | 2115213 | 2139063.3134
|  | Total | 396161372.4 | 9112556.439 | 9131381.3211 | 9150428.3368 | 9169700.1073 | 9189199.2847 | 9208928.5524 | 9228890.6254 | 9249088.2509 | 9269524.2084 | 9290201.3101 | 9311122.4017 | 9332290.3622 | 9353708.1046 | 9375378.5763 | 9397304.7596 | 9419489.6719 | 9441936.3661 | 9464647.9314 | 9487627.4931 | 9510878.2136 | 9534403.2926 | 9558205.9676 | 9582289.5141 | 9606657.2465 | 9631312.5181 | 9656258.722 | 9681499.291 | 9707037.6987 | 9732877.4597 | 9759022.1298
treatment plant (Conventional activated sludge+ disinfection) | T6 | new treatment plants | 75000000 | 2100000 | 2124780 | 2149852.404 | 2175220.6624 | 2200888.2662 | 2226858.7477 | 2253135.6809 | 2279722.682 | 2306623.4096 | 2333841.5659 | 2361380.8963 | 2389245.1909 | 2417438.2842 | 2445964.0559 | 2474826.4318 | 2504029.3837 | 2533576.9304 | 2563473.1382 | 2593722.1212 | 2624328.0422 | 2655295.1131 | 2686627.5955 | 2718329.8011 | 2750406.0928 | 2782860.8847 | 2815698.6431 | 2848923.8871 | 2882541.1889 | 2916555.175 | 2950970.526
|  | wastwater collection(sewerage network) | 371161372.4 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448
|  | wastewater storage and convey | 50233938.59 | 1549328.991 | 1566501.8731 | 1583877.3952 | 1601457.9485 | 1619245.9523 | 1637243.8545 | 1655454.132 | 1673879.2908 | 1692521.8664 | 1711384.4244 | 1730469.5606 | 1749779.9014 | 1769318.1043 | 1789086.8579 | 1809088.8828 | 1829326.9316 | 1849803.7894 | 1870522.2742 | 1891485.237 | 1912695.5628 | 1934156.1704 | 1955870.0132 | 1977840.0794 | 2000069.3923 | 2022561.0112 | 2045318.0311 | 2068343.5839 | 2091640.8382 | 2115213 | 2139063.3134
|  | Total | 496395310.99 | 11072556.439 | 11114509.3211 | 11156957.2472 | 11199906.0589 | 11243361.6665 | 11287330.0502 | 11331817.261 | 11376829.4207 | 11422372.724 | 11468453.4383 | 11515077.905 | 11562252.5404 | 11609983.8364 | 11658278.3618 | 11707142.7626 | 11756583.7633 | 11806608.1678 | 11857222.8603 | 11908434.8062 | 11960251.053 | 12012678.7316 | 12065725.0567 | 12119397.3285 | 12173702.9331 | 12228649.3438 | 12284244.1222 | 12340494.9189 | 12397409.4751 | 12454995.623 | 12513261.2875
Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | T7 | new treatment plants | 90000000 | 2520000 | 2549736 | 2579822.8848 | 2610264.7948 | 2641065.9194 | 2672230.4973 | 2703762.8171 | 2735667.2184 | 2767948.0916 | 2800609.879 | 2833657.0756 | 2867094.2291 | 2900925.941 | 2935156.8671 | 2969791.7181 | 3004835.2604 | 3040292.3165 | 3076167.7658 | 3112466.5455 | 3149193.6507 | 3186354.1358 | 3223953.1146 | 3261995.7613 | 3300487.3113 | 3339433.0616 | 3378838.3717 | 3418708.6645 | 3459049.4267 | 3499866.21 | 3541164.6313
|  | wastwater collection(sewerage network) | 371161372.4 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448
|  | wastewater storage | 50233938.59 | 1549328.991 | 1566501.8731 | 1583877.3952 | 1601457.9485 | 1619245.9523 | 1637243.8545 | 1655454.132 | 1673879.2908 | 1692521.8664 | 1711384.4244 | 1730469.5606 | 1749779.9014 | 1769318.1043 | 1789086.8579 | 1809088.8828 | 1829326.9316 | 1849803.7894 | 1870522.2742 | 1891485.237 | 1912695.5628 | 1934156.1704 | 1955870.0132 | 1977840.0794 | 2000069.3923 | 2022561.0112 | 2045318.0311 | 2068343.5839 | 2091640.8382 | 2115213 | 2139063.3134
|  | Total | 511395310.99 | 11492556.439 | 11539465.3211 | 11586927.728 | 11634950.1913 | 11683539.3197 | 11732701.7998 | 11782444.3971 | 11832773.9571 | 11883697.4059 | 11935221.7515 | 11987354.0842 | 12040101.5785 | 12093471.4933 | 12147471.173 | 12202108.049 | 12257389.6401 | 12313323.5539 | 12369917.488 | 12427179.2304 | 12485116.6615 | 12543737.7542 | 12603050.5758 | 12663063.2887 | 12723784.1516 | 12785221.5207 | 12847383.8508 | 12910279.6964 | 12973917.7129 | 13038306.658 | 13103455.3927
Activated sludge+ Ultrfiltration+ reverse osmosis | T8 | new treatment plants | 75000000 | 2100000 | 2124780 | 2149852.404 | 2175220.6624 | 2200888.2662 | 2226858.7477 | 2253135.6809 | 2279722.682 | 2306623.4096 | 2333841.5659 | 2361380.8963 | 2389245.1909 | 2417438.2842 | 2445964.0559 | 2474826.4318 | 2504029.3837 | 2533576.9304 | 2563473.1382 | 2593722.1212 | 2624328.0422 | 2655295.1131 | 2686627.5955 | 2718329.8011 | 2750406.0928 | 2782860.8847 | 2815698.6431 | 2848923.8871 | 2882541.1889 | 2916555.175 | 2950970.526
|  | Ultrfiltration+ reverse osmosis | 156408339.5 | 9198000 | 9306536.4 | 9416353.5295 | 9527466.5012 | 9639890.6059 | 9753641.315 | 9868734.2825 | 9985185.3471 | 10103010.5342 | 10222226.0585 | 10342848.326 | 10464893.9362 | 10588379.6847 | 10713322.5649 | 10839739.7712 | 10967648.7005 | 11097066.9552 | 11228012.3452 | 11360502.8909 | 11494556.825 | 11630192.5956 | 11767428.8682 | 11906284.5288 | 12046778.6863 | 12188930.6748 | 12332760.0567 | 12478286.6254 | 12625530.4076 | 12774511.6664 | 12925250.9041
|  | wastwater collection(sewerage network) | 371161372.4 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448 | 7423227.448
|  | wastewater storage | 50233938.59 | 1549328.991 | 1566501.8731 | 1583877.3952 | 1601457.9485 | 1619245.9523 | 1637243.8545 | 1655454.132 | 1673879.2908 | 1692521.8664 | 1711384.4244 | 1730469.5606 | 1749779.9014 | 1769318.1043 | 1789086.8579 | 1809088.8828 | 1829326.9316 | 1849803.7894 | 1870522.2742 | 1891485.237 | 1912695.5628 | 1934156.1704 | 1955870.0132 | 1977840.0794 | 2000069.3923 | 2022561.0112 | 2045318.0311 | 2068343.5839 | 2091640.8382 | 2115213 | 2139063.3134
|  | Total | 652803650.49 | 20270556.439 | 20421045.7211 | 20573310.7767 | 20727372.56 | 20883252.2723 | 21040971.3653 | 21200551.5435 | 21362014.7678 | 21525383.2582 | 21690679.4968 | 21857926.2309 | 22027146.4766 | 22198363.5211 | 22371600.9268 | 22546882.5338 | 22724232.4638 | 22903675.123 | 23085235.2056 | 23268937.6971 | 23454807.8781 | 23642871.3271 | 23833153.9249 | 24025681.8573 | 24220481.6194 | 24417580.0186 | 24617004.1789 | 24818781.5444 | 25022939.8827 | 25229507.2894 | 25438512.1916
value of fresh water
elements | US$/year
marginal cost of Water supply from man-made river | 9417000
fertliser price
Manures | US$/ton
Poultry
sheep
cattle | 15
Fertilizer | US$/ton
P Fertilizer
Monoammonium phosphate
Diammonium phosphate | 1216
Urea ammonium phosphate
Triple superphosphate
Superphosphate
K fertilizer
Potassium nitrate
Potassium sulphate | 836
N fertilizer
Urea | 760
Urea-ammonium nitrate (UAN)

## envi risk assessment results
|  |  | irrigation water quality |  |  |  | irrigation water supply
|  |  | Ecb ds/m | NO3-N + NH4-N mg/l | P-PO4 mg/l | K mg/l | m3/y
|  |  | 4 | 21 | 6.5 | 50 | 30.24
manures application
|  | type | ton/ha | N kg/ha | P kg/ha | K kg/ha
|  | cattle | 0 | 0 | 0 | 0
[5 empty] | nutrient from irrigated water |  |  | chemical fertiliser demand* |  |  | excessive N kg/ha
spring-summer season | irrigation method | Leaching requirment |  | Total irrgation with leaching | N- from irrigation water kg/ha | P-PO4 from irrigation water kg/ha | K from irrigation water kg/ha | chemical fertiliser demand N kg/ha | chemical fertiliser demand P kg/ha | chemical fertiliser demand K kg/ha
crops |  | LR% | LR<25% | TR m3/ha
wheat
barley
peas*
broad beans*
oat
potato
onion | drip | 27.03%
lettuce and Green-Leaf Crops | drip | 22.22% | 22.22% | 4371.4286 | 45.9 | 28.4143 | 218.5714 | 68.1 | 0 | 0 | 0
carrot | drip | 24.69% | 24.69% | 5695.082 | 59.7984 | 37.018 | 284.7541 | 12.7016 | 0 | 0 | 0
Radish | drip | 22.47% | 22.47% | 1748.4702 | 18.3589 | 11.3651 | 87.4235 | 271.6411 | 29.9949 | 252.8765 | 0
Millets | sprinkle | 15.38% | 15.38% | 7752.7273 | 81.4036 | 50.3927 | 387.6364 | 0 | 0 | 0 | -38.5636
tomato | drip | 15.38% | 15.38% | 7603.0303 | 79.8318 | 49.4197 | 380.1515 | 82.1682 | 0 | 0 | 0
water melon | drip | 25.64%
cucumber | drip | 20% | 20% | 5430.5556 | 57.0208 | 35.2986 | 271.5278 | 0 | 0 | 0 | -31.0208
eggplant | drip | 12.9% | 12.9% | 10065.4321 | 105.687 | 65.4253 | 503.2716 | 0 | 0 | 0 | -32.887
pepper | drip | 23.26% | 23.26% | 11133.67 | 116.9035 | 72.3689 | 556.6835 | 0 | 0 | 0 | -80.6035
cauliflower | drip | 18.69% | 18.69% | 5944.4444 | 62.4167 | 38.6389 | 297.2222 | 0 | 0 | 0 | -9.4167
olive tree
palm tree
alfalfa*

## Health risk assesment result
|  |  | (Unrestricted Irrigation) | [8 empty] | (Restricted Irrigation)
|  |  | treatment + drip irrigation | [8 empty] | treatment +crop restriction
| raw wastewater | conventional activated sludge | on site( Three-tank system ) | on site(Three-tank system +sand Filter) | septic tank+ (WSP) | treatment plant (WSP) | treatment plant (Conventional activated sludge+ disinfection) | Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | Activated sludge+ Ultrfiltration+ reverse osmosis |  | raw wastewater | conventional activated sludge | on site( Three-tank system ) | on site(Three-tank system +sand Filter) | septic tank+ (WSP) | treatment plant (WSP) | treatment plant (Conventional activated sludge+ disinfection) | Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | Activated sludge+ Ultrfiltration+ reverse osmosis
|  | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 |  |  | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8
DALYs (cases per year) | [9 empty] | DALYs (cases per year)
Norovirus | 1440 | 835.2 | 835.2 | 12.384 | 123.84 | 123.84 | 12.384 | 12.384 | 0.012384 | Norovirus | 26.1888 | 14.6657 | 14.6657 | 0.26189 | 2.5927 | 2.5927 | 0.26189 | 0.26189 | 0.00028808
Ascaris | 8100 | 178.2 | 178.2 | 0.1863 | 18.63 | 18.63 | 18.63 | 18.63 | 0.1863 | Ascaris | 10.4592 | 1.0754 | 1.0754 | 0.010901 | 0.10901 | 0.10901 | 0.10901 | 0.10901 | 2.4225e-06
TOTAL | 9540 | 1013.4 | 1013.4 | 12.5703 | 142.47 | 142.47 | 31.014 | 31.014 | 0.19868 | TOTAL | 36.648 | 15.7411 | 15.7411 | 0.27279 | 2.7017 | 2.7017 | 0.3709 | 0.3709 | 0.0002905
Reduction | 0% | 89.38% | 89.38% | 99.87% | 98.51% | 98.51% | 99.67% | 99.67% | 100% | Reduction | 0% | 57.05% | 57.05% | 99.26% | 92.63% | 92.63% | 98.99% | 98.99% | 100%

## costs-benefits results
life cycle costs results
crop | select Portion of Area % | Area | yield | Discount Rate (%)--> | 3%
|  | ha | US$/YEAR | Project Life (30 yrs max)--> | 30
wheat | 25% | 1032.8913 | 8006973.4142 | discounted costs | US$
barley | 25% | 1032.8913 | 5651981.2336 | capital costs | 537950000
peas* |  |  |  | O&M cost | 217380507.6856
broad beans* |  |  |  | fertliser cost | 13824505.13
oat | 30% | 1239.4696 | 7846833.9459 | cost of health impact | 14953474.2848
potato | 10% | 413.1565 | 23549921.8065 | Total Discounted Costs | 784108487.1004
onion |  |  |  | Discounted benefits | US$
lettuce and Green-Leaf Crops | 5% | 206.5783 | 9419968.7226 | crop yeild | 1546261139.6784
carrot | 2.5% | 103.2891 | 5887480.4516 | fresh water value | 184577356.188
Radish | 2.5% | 103.2891 | 1569994.7871 | Total Discounted Benfits | 1730838495.8664
Millets |  |  |  | Net Present Value ----> | 946730008.766
tomato | 20% | 826.313 | 16955943.7007 | Benefits/Costs Ratio---> | 2.2074
water melon |  |  |  | internal return rate ----> | 13.86%
cucumber
eggplant |  |  |  | water supply |  | septic tank+ (WSP) | T4
pepper |  |  |  | irrigation water volume |  | cubic m /year | 30.24
cauliflower |  |  |  | total area |  | ha | 4131.5652
olive tree
palm tree
alfalfa*

## lifeCycle Costs calculation
[6 empty] | chemical fertiliser Demand |  |  | Yeild
crop | irrigation method | Leaching requirment | select Portion of Area % | Area | total irrigation demend | Urea | Diammonium phosphate | Potassium sulphate
|  | LR<25% | select Portion of Area % | ha | IR m3/year | N Ton/year | P2O5 Ton/year | K2O Ton/year | US$/YEAR
wheat | sprinkle | 15.38% | 25% | 1032.8913 | 8040276.3339 | 143.0738 | 0 | 0 | 8006973.4142
barley | drip | 11.11% | 25% | 1032.8913 | 5593106.429 | 80.1922 | 0 | 0 | 5651981.2336
peas* | drip | 15.38%
broad beans* | drip | 16.67%
oat | drip | 9.804% | 30% | 1239.4696 | 4641723.7184 | 210.7567 | 0 | 23.7075 | 7846833.9459
potato | drip | 20% | 10% | 413.1565 | 2249407.7359 | 57.7072 | 0 | 0 | 23549921.8065
onion
lettuce and Green-Leaf Crops | drip | 22.22% | 5% | 206.5783 | 2236947.4598 | 25.7998 | 0 | 0 | 9419968.7226
carrot | drip | 24.69% | 2.5% | 103.2891 | 877788.2848 | 6.2691 | 0.24614 | 0 | 5887480.4516
Radish | drip | 22.47% | 2.5% | 103.2891 | 318266.9109 | 106.7229 | 32.2359 | 130.5246 | 1569994.7871
Millets | sprinkle | 15.38%
tomato | drip | 15.38% | 20% | 826.313 | 6282483.1273 | 75.8991 | 0 | 0 | 16955943.7007
water melon
cucumber | drip | 20%
eggplant | drip | 12.9%
pepper | drip | 23.26%
cauliflower | drip | 18.69%
olive tree | drip | 16.67%
palm tree | drip | 6.25%
alfalfa*
|  |  | Total Annual Demand-----> |  | 30240000 | 706.4208 | 32.4821 | 154.232 | 78889098.0621 | <--Total yeild US$/Year
Costs of Fertiliser
Manures | Ton | costs US$/year
cattle | 0 | 0
Fertilizer | Ton | costs US$/year
Urea | 706.4208 | 536879.829
Diammonium phosphate | 32.4821 | 39498.2133
Potassium sulphate | 154.232 | 128937.9699
Total fertiliser costs -----> |  | 705316.0122
|  | years----> | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Total Fixed Costs
Capital costs |  |  | 0: 537950000
recurring Costs:
Total O&M Costs |  |  |  | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 35465360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360
Fertilisers costs |  |  |  | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122
cost of health impacts |  |  |  | 649663.2 | 665085.7106 | 672933.722 | 680874.3399 | 688908.6571 | 697037.7793 | 705262.8251 | 713584.9264 | 722005.2286 | 730524.8903 | 739145.084 | 747866.996 | 756691.8265 | 765620.7901 | 774655.1154 | 783796.0457 | 793044.8391 | 802402.7682 | 811871.1208 | 821451.2001 | 831144.3242 | 840951.8273 | 850875.0588 | 860915.3845 | 871074.1861 | 881352.8614 | 891752.8252 | 902275.5085 | 912922.3595 | 923694.8434
Total Recuring Costs |  |  |  | 11620339.2122 | 11635761.7228 | 11643609.7342 | 11651550.3521 | 11659584.6693 | 11667713.7915 | 11675938.8373 | 11684260.9386 | 11692681.2408 | 11701200.9025 | 11709821.0962 | 11718543.0082 | 11727367.8387 | 11736296.8023 | 36945331.1276 | 11754472.0579 | 11763720.8513 | 11773078.7804 | 11782547.133 | 11792127.2123 | 11801820.3364 | 11811627.8395 | 11821551.071 | 11831591.3967 | 11841750.1983 | 11852028.8736 | 11862428.8374 | 11872951.5208 | 11883598.3718 | 11894370.8556
Benefits:
yields |  |  |  | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621
Value of Freash Water |  |  |  | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000 | 9417000
Total Benifits |  |  |  | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621
NPV |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Total Fixed Costs |  |  | 0: 537950000
Total Recurring Costs |  |  | 0 | 11620339.2122 | 11635761.7228 | 11643609.7342 | 11651550.3521 | 11659584.6693 | 11667713.7915 | 11675938.8373 | 11684260.9386 | 11692681.2408 | 11701200.9025 | 11709821.0962 | 11718543.0082 | 11727367.8387 | 11736296.8023 | 36945331.1276 | 11754472.0579 | 11763720.8513 | 11773078.7804 | 11782547.133 | 11792127.2123 | 11801820.3364 | 11811627.8395 | 11821551.071 | 11831591.3967 | 11841750.1983 | 11852028.8736 | 11862428.8374 | 11872951.5208 | 11883598.3718 | 11894370.8556
Total Benifits |  |  | 0 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621 | 88306098.0621
Net Income can be profit or loss |  |  | -537950000 | 76685758.8499 | 76670336.3393 | 76662488.3279 | 76654547.71 | 76646513.3927 | 76638384.2706 | 76630159.2248 | 76621837.1235 | 76613416.8213 | 76604897.1596 | 76596276.9659 | 76587555.0539 | 76578730.2234 | 76569801.2598 | 51360766.9345 | 76551626.0041 | 76542377.2108 | 76533019.2817 | 76523550.929 | 76513970.8498 | 76504277.7256 | 76494470.2226 | 76484546.9911 | 76474506.6654 | 76464347.8638 | 76454069.1884 | 76443669.2247 | 76433146.5413 | 76422499.6903 | 76411727.2065
Discount Factors @ 3% |  |  | 1 | 0.97087 | 0.9426 | 0.91514 | 0.88849 | 0.86261 | 0.83748 | 0.81309 | 0.78941 | 0.76642 | 0.74409 | 0.72242 | 0.70138 | 0.68095 | 0.66112 | 0.64186 | 0.62317 | 0.60502 | 0.58739 | 0.57029 | 0.55368 | 0.53755 | 0.52189 | 0.50669 | 0.49193 | 0.47761 | 0.46369 | 0.45019 | 0.43708 | 0.42435 | 0.41199
Present Value |  |  | -537950000 | 74452193.0581 | 72269145.3853 | 70157036.7785 | 68106572.8041 | 66115955.745 | 64183440.2843 | 62307331.9786 | 60485985.7754 | 58717804.5739 | 57001237.8278 | 55334780.1884 | 53716970.188 | 52146388.9606 | 50621659.0009 | 32966521.8844 | 47704442.4693 | 46309397.0166 | 44955082.8307 | 43640311.8169 | 42363930.5161 | 41124819.0954 | 39921890.3682 | 38754088.8428 | 37620389.7986 | 36519798.3897 | 35451348.7739 | 34414103.2675 | 33407151.5249 | 32429609.7416 | 31480619.8808
Net Present Value |  | 946730008.766
BCR |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Discounted Costs |  |  | 537950000 | 11281882.7303 | 10967821.3996 | 10655552.333 | 10352251.576 | 10057660.158 | 9771526.6119 | 9493606.7556 | 9223663.4811 | 8961466.5489 | 8706792.3885 | 8459423.905 | 8219150.2911 | 7985766.8444 | 7759074.7903 | 23713802.1848 | 7324998.3745 | 7117244.5794 | 6915442.9906 | 6719421.9902 | 6529014.9277 | 6344059.9763 | 6164399.9926 | 5989882.3813 | 5820358.9626 | 5655685.8445 | 5495723.2982 | 5340335.6374 | 5189391.1012 | 5042761.7401 | 4900323.3053
Discounted Benfits |  |  | 0 | 85734075.7884 | 83236966.7849 | 80812589.1115 | 78458824.3801 | 76173615.903 | 73954966.8962 | 71800938.7341 | 69709649.2564 | 67679271.1228 | 65708030.2163 | 63794204.0935 | 61936120.4791 | 60132155.8049 | 58380733.7912 | 56680324.0691 | 55029440.8438 | 53426641.5959 | 51870525.8213 | 50359733.8071 | 48892945.4438 | 47468879.0716 | 46086290.3608 | 44743971.2241 | 43440748.7612 | 42175484.2342 | 40947072.0721 | 39754438.9049 | 38596542.6261 | 37472371.4817 | 36380943.1861
Total Discounted Costs |  | 784108487.1004
Total Discounted Benfits |  | 1730838495.8664
Benefits- Costs Ratio |  | 2.2074
internal return rate |  | 13.86%
|  | Year--> | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
discounted O&M cost |  | 217380507.6856 |  | 9966368.932 | 9676086.3418 | 9394258.5843 | 9120639.4022 | 8854989.7109 | 8597077.3892 | 8346677.0769 | 8103569.9776 | 7867543.6675 | 7638391.9102 | 7415914.4759 | 7199916.9669 | 6990210.6475 | 6786612.2791 | 22763865.0347 | 6397032.9712 | 6210711.6225 | 6029817.1092 | 5854191.3682 | 5683680.94 | 5518136.8349 | 5357414.4029 | 5201373.2067 | 5049876.8997 | 4902793.1065 | 4759993.3073 | 4621352.7255 | 4486750.2189 | 4356068.1737 | 4229192.4017
Discounted fertliser cost |  | 13824505.13 |  | 684772.8274 | 664827.9877 | 645464.0658 | 626664.1415 | 608411.7879 | 590691.0562 | 573486.4623 | 556782.9731 | 540565.9933 | 524821.3528 | 509535.2939 | 494694.4601 | 480285.8836 | 466296.9744 | 452715.5091 | 439529.6205 | 426727.7869 | 414298.8222 | 402231.8662 | 390516.375 | 379142.1116 | 368099.1375 | 357377.8034 | 346968.7412 | 336862.8555 | 327051.316 | 317525.5495 | 308277.2326 | 299298.2841 | 290580.8583
discounted cost of health impact |  | 14953474.2848 |  | 630740.9709 | 626907.0701 | 615829.683 | 604948.0323 | 594258.6593 | 583758.1665 | 573443.2163 | 563310.5304 | 553356.888 | 543579.1255 | 533974.1351 | 524538.864 | 515270.3132 | 506165.5368 | 497221.6409 | 488435.7828 | 479805.1699 | 471327.0592 | 462998.7558 | 454817.6127 | 446781.0297 | 438886.4522 | 431131.3712 | 423513.3218 | 416029.8825 | 408678.6749 | 401457.3624 | 394363.6497 | 387395.2823 | 380550.0453
dicounted crop yeild |  | 1546261139.6784 |  | 76591357.3418 | 74360541.1086 | 72194700.1054 | 70091941.8499 | 68050428.9805 | 66068377.651 | 64144055.9718 | 62275782.4969 | 60461924.7543 | 58700897.8197 | 56991162.9317 | 55331226.1473 | 53719637.0362 | 52154987.4138 | 50635910.1105 | 49161077.7772 | 47729201.7254 | 46339030.8014 | 44989350.2926 | 43678980.8666 | 42406777.5404 | 41171628.68 | 39972455.0291 | 38808208.7661 | 37677872.5885 | 36580458.8238 | 35515008.5668 | 34480590.8415 | 33476301.7879 | 32501263.8717
dicounted fresh water value |  | 184577356.188 |  | 9142718.4466 | 8876425.6763 | 8617889.0061 | 8366882.5302 | 8123186.9225 | 7886589.2452 | 7656882.7623 | 7433866.7595 | 7217346.3685 | 7007132.3966 | 6803041.1617 | 6604894.3318 | 6412518.7687 | 6225746.3774 | 6044413.9586 | 5868363.0666 | 5697439.8705 | 5531495.0199 | 5370383.5145 | 5213964.5772 | 5062101.5312 | 4914661.6808 | 4771516.195 | 4632539.9951 | 4497611.6457 | 4366613.2483 | 4239430.3381 | 4115951.7846 | 3996069.6938 | 3879679.3144
| years---> | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
capital and oprating costs estimate
local wells | GW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Man made River supply | MMR | 79251545.448 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909 | 11002030.909
conventional activated sludge | T1
on site( Three-tank system ) | T2
on site(Three-tank system +sand Filter) | T3
septic tank+ (WSP) | T4 | 537950000 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 35465360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360 | 10265360
treatment plant (WSP) | T5 | 396161372.4 | 9112556.439 | 9131381.3211 | 9150428.3368 | 9169700.1073 | 9189199.2847 | 9208928.5524 | 9228890.6254 | 9249088.2509 | 9269524.2084 | 9290201.3101 | 9311122.4017 | 9332290.3622 | 9353708.1046 | 9375378.5763 | 9397304.7596 | 9419489.6719 | 9441936.3661 | 9464647.9314 | 9487627.4931 | 9510878.2136 | 9534403.2926 | 9558205.9676 | 9582289.5141 | 9606657.2465 | 9631312.5181 | 9656258.722 | 9681499.291 | 9707037.6987 | 9732877.4597 | 9759022.1298
treatment plant (Conventional activated sludge+ disinfection) | T6 | 496395310.99 | 11072556.439 | 11114509.3211 | 11156957.2472 | 11199906.0589 | 11243361.6665 | 11287330.0502 | 11331817.261 | 11376829.4207 | 11422372.724 | 11468453.4383 | 11515077.905 | 11562252.5404 | 11609983.8364 | 11658278.3618 | 11707142.7626 | 11756583.7633 | 11806608.1678 | 11857222.8603 | 11908434.8062 | 11960251.053 | 12012678.7316 | 12065725.0567 | 12119397.3285 | 12173702.9331 | 12228649.3438 | 12284244.1222 | 12340494.9189 | 12397409.4751 | 12454995.623 | 12513261.2875
Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | T7 | 511395310.99 | 11492556.439 | 11539465.3211 | 11586927.728 | 11634950.1913 | 11683539.3197 | 11732701.7998 | 11782444.3971 | 11832773.9571 | 11883697.4059 | 11935221.7515 | 11987354.0842 | 12040101.5785 | 12093471.4933 | 12147471.173 | 12202108.049 | 12257389.6401 | 12313323.5539 | 12369917.488 | 12427179.2304 | 12485116.6615 | 12543737.7542 | 12603050.5758 | 12663063.2887 | 12723784.1516 | 12785221.5207 | 12847383.8508 | 12910279.6964 | 12973917.7129 | 13038306.658 | 13103455.3927
Activated sludge+ Ultrfiltration+ reverse osmosis | T8 | 652803650.49 | 20270556.439 | 20421045.7211 | 20573310.7767 | 20727372.56 | 20883252.2723 | 21040971.3653 | 21200551.5435 | 21362014.7678 | 21525383.2582 | 21690679.4968 | 21857926.2309 | 22027146.4766 | 22198363.5211 | 22371600.9268 | 22546882.5338 | 22724232.4638 | 22903675.123 | 23085235.2056 | 23268937.6971 | 23454807.8781 | 23642871.3271 | 23833153.9249 | 24025681.8573 | 24220481.6194 | 24417580.0186 | 24617004.1789 | 24818781.5444 | 25022939.8827 | 25229507.2894 | 25438512.1916
years---> |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
fertliser costs estimates
local wells | GW
Man made River supply | MMR
conventional activated sludge | T1
on site( Three-tank system ) | T2
on site(Three-tank system +sand Filter) | T3
septic tank+ (WSP) | T4 |  | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122 | 705316.0122
treatment plant (WSP) | T5
treatment plant (Conventional activated sludge+ disinfection) | T6
Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | T7
Activated sludge+ Ultrfiltration+ reverse osmosis | T8
years---> |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
crops yeild estimates
local wells | GW
Man made River supply | MMR
conventional activated sludge | T1
on site( Three-tank system ) | T2
on site(Three-tank system +sand Filter) | T3
septic tank+ (WSP) | T4 |  | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621 | 78889098.0621
treatment plant (WSP) | T5
treatment plant (Conventional activated sludge+ disinfection) | T6
Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | T7
Activated sludge+ Ultrfiltration+ reverse osmosis | T8

## water demand calculation
|  | Area (ha) | irrigation water quality |  |  |  | irrigation water supply
|  | 4131.5652 | Ecb ds/m | NO3-N + NH4-N mg/l | P-PO4 mg/l | K mg/l | m3/y
|  |  | 4 | 21 | 6.5 | 50 | 30.24
spring-summer season | Water Demand | net irrigation requirement | select irrigation method | Leaching requirment | Leaching requirment | Total irrgation with leaching
crops | WD m3/ha | IR m3/ha |  | LR% | LR<25% | TR m3/ha
wheat | -
barley | -
peas* | -
broad beans* | -
oat | -
potato | -
onion | 5410 | 6011.1111 | drip | 27.03%
lettuce and Green-Leaf Crops | 3060 | 3400 | drip | 22.22% | 22.22% | 4371.4286
carrot | 3860 | 4288.8889 | drip | 24.69% | 24.69% | 5695.082
Radish | 1220 | 1355.5556 | drip | 22.47% | 22.47% | 1748.4702
Millets | 4920 | 6560 | sprinkle | 15.38% | 15.38% | 7752.7273
tomato | 5790 | 6433.3333 | drip | 15.38% | 15.38% | 7603.0303
water melon | 6850 | 7611.1111 | drip | 25.64%
cucumber | 3910 | 4344.4444 | drip | 20% | 20% | 5430.5556
eggplant | 7890 | 8766.6667 | drip | 12.9% | 12.9% | 10065.4321
pepper | 7690 | 8544.4444 | drip | 23.26% | 23.26% | 11133.67
cauliflower | 4350 | 4833.3333 | drip | 18.69% | 18.69% | 5944.4444
olive tree | -
palm tree | -
alfalfa* | -
|  | Area | 4131.5652 |  | Annual crop | fall -winter season | spring-summer
crops | irrigation method |  |  | Leaching requirment | net irrigation requirement |  |  | total irrigation demend
|  | select Portion of Area % | ha | LR<25% | IR m3/ha |  |  | IR m3/year
wheat | sprinkle | 25% | 1032.8913 | 15.38% |  | 7784.2424 |  | 8040276.3339 | 1946.0606
barley | drip | 25% | 1032.8913 | 11.11% |  | 5415 |  | 5593106.429 | 1353.75
peas* | drip |  |  | 15.38%
broad beans* | drip |  |  | 16.67%
oat | drip | 30% | 1239.4696 | 9.804% |  | 3744.9275 |  | 4641723.7184 | 1123.4783
potato | drip | 10% | 413.1565 | 20% |  | 5444.4444 |  | 2249407.7359 | 544.4444
onion
lettuce and Green-Leaf Crops | drip | 5% | 206.5783 | 22.22% |  | 6457.1429 | 4371.4286 | 2236947.4598 | 541.4286
carrot | drip | 2.5% | 103.2891 | 24.69% |  | 2803.2787 | 5695.082 | 877788.2848 | 212.459
Radish | drip | 2.5% | 103.2891 | 22.47% |  | 1332.8502 | 1748.4702 | 318266.9109 | 77.033
Millets | sprinkle |  |  | 15.38%
tomato | drip | 20% | 826.313 | 15.38% |  |  | 7603.0303 | 6282483.1273 | 1520.6061
water melon
cucumber | drip |  |  | 20%
eggplant | drip |  |  | 12.9%
pepper | drip |  |  | 23.26%
cauliflower | drip |  |  | 18.69%
olive tree | drip |  |  | 16.67%
palm tree | drip |  |  | 6.25%
alfalfa*
120%
[7 empty] | Annual irrgation demand m3 -------> | 30240000 | 7319.26

## Health impact calculation
|  |  | (Unrestricted Irrigation) | [8 empty] | (Restricted Irrigation)
|  |  | treatment + drip irrigation | [8 empty] | treatment +crop restriction
| raw wastewater | conventional activated sludge | on site( Three-tank system ) | on site(Three-tank system +sand Filter) | septic tank+ (WSP) | treatment plant (WSP) | treatment plant (Conventional activated sludge+ disinfection) | Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | Activated sludge+ Ultrfiltration+ reverse osmosis | Disease Risk pppy | raw wastewater | conventional activated sludge | on site( Three-tank system ) | on site(Three-tank system +sand Filter) | septic tank+ (WSP) | treatment plant (WSP) | treatment plant (Conventional activated sludge+ disinfection) | Activated sludge+ Biological Nitrogen Removal (MLE)+ disinfection | Activated sludge+ Ultrfiltration+ reverse osmosis
Median infection risk pppy |  | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | Median infection risk pppy |  | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8
Norovirus | 1 | 0.58 | 0.58 | 0.0086 | 0.086 | 0.086 | 0.0086 | 0.0086 | 8.6e-06 | Norovirus | 1 | 0.56 | 0.56 | 0.01 | 0.099 | 0.099 | 0.01 | 0.01 | 1.1e-05
Ascaris | 1 | 0.022 | 0.022 | 2.3e-05 | 0.0023 | 0.0023 | 0.0023 | 0.0023 | 2.3e-05 | Ascaris | 0.071 | 0.0073 | 0.0073 | 7.4e-05 | 0.00074 | 0.00074 | 0.00074 | 0.00074 | 7.4e-08
Disease Risk pppy | [9 empty] | Disease Risk pppy
Norovirus | 0.8 | 0.464 | 0.464 | 0.00688 | 0.0688 | 0.0688 | 0.00688 | 0.00688 | 6.88e-06 | Norovirus | 0.8 | 0.448 | 0.448 | 0.008 | 0.0792 | 0.0792 | 0.008 | 0.008 | 8.8e-06
Ascaris | 1 | 0.022 | 0.022 | 2.3e-05 | 0.0023 | 0.0023 | 0.0023 | 0.0023 | 2.3e-05 | Ascaris | 0.071 | 0.0073 | 0.0073 | 7.4e-05 | 0.00074 | 0.00074 | 0.00074 | 0.00074 | 7.4e-08
Disease incidence (cases per year) | [9 empty] | Disease incidence (cases per year)
Norovirus | 120000 | 69600 | 69600 | 1032 | 10320 | 10320 | 1032 | 1032 | 1.032 | Norovirus | 2182.4 | 1222.144 | 1222.144 | 21.824 | 216.0576 | 216.0576 | 21.824 | 21.824 | 0.024006
Ascaris | 150000 | 3300 | 3300 | 3.45 | 345 | 345 | 345 | 345 | 3.45 | Ascaris | 193.688 | 19.9144 | 19.9144 | 0.20187 | 2.0187 | 2.0187 | 2.0187 | 2.0187 | 0.00020187
TOTAL | 270000 | 72900 | 72900 | 1035.45 | 10665 | 10665 | 1377 | 1377 | 4.482 | TOTAL | 2376.088 | 1242.0584 | 1242.0584 | 22.0259 | 218.0763 | 218.0763 | 23.8427 | 23.8427 | 0.024208
Reduction | 0% | 73% | 73% | 99.62% | 96.05% | 96.05% | 99.49% | 99.49% | 100% | Reduction | 0% | 47.73% | 47.73% | 99.07% | 90.82% | 90.82% | 99% | 99% | 100%
DALYs (cases per year) | [9 empty] | DALYs (cases per year)
Norovirus | 1440 | 835.2 | 835.2 | 12.384 | 123.84 | 123.84 | 12.384 | 12.384 | 0.012384 | Norovirus | 26.1888 | 14.6657 | 14.6657 | 0.26189 | 2.5927 | 2.5927 | 0.26189 | 0.26189 | 0.00028808
Ascaris | 8100 | 178.2 | 178.2 | 0.1863 | 18.63 | 18.63 | 18.63 | 18.63 | 0.1863 | Ascaris | 10.4592 | 1.0754 | 1.0754 | 0.010901 | 0.10901 | 0.10901 | 0.10901 | 0.10901 | 2.4225e-06
TOTAL | 9540 | 1013.4 | 1013.4 | 12.5703 | 142.47 | 142.47 | 31.014 | 31.014 | 0.19868 | TOTAL | 36.648 | 15.7411 | 15.7411 | 0.27279 | 2.7017 | 2.7017 | 0.3709 | 0.3709 | 0.0002905
Reduction | 0% | 89.38% | 89.38% | 99.87% | 98.51% | 98.51% | 99.67% | 99.67% | 100% | Reduction | 0% | 57.05% | 57.05% | 99.26% | 92.63% | 92.63% | 98.99% | 98.99% | 100%

## fertiliser demand calculation
[11 empty] | irrigation water quality |  |  |  | irrigation water supply
[11 empty] | Ecb ds/m | NO3-N + NH4-N mg/l | P-PO4 mg/l | K mg/l | m3/y
[11 empty] | 4 | 21 | 6.5 | 50 | 30.24
manures application
|  |  |  | type | ton/ha | N kg/ha | P kg/ha | K kg/ha
|  |  |  | cattle | 0 | 0 | 0 | 0
chemical fertiliser requirement
spring-summer season | crops nutrient demand |  |  | nutrient from irrigated water |  |  | chemical fertiliser demand | [5 empty] | Diammonium phosphate&Potassium sulphate | Urea | Diammonium phosphate | Potassium sulphate
crops | Total demandN kg/ha | Total demand P kg/ha | Total demandK kg/ha | N- from irrigation water kg/ha | P-PO4 from irrigation water kg/ha | K from irrigation water kg/ha | chemical fertiliser demand N kg/ha | chemical fertiliser demand P kg/ha | chemical fertiliser demand K kg/ha | excessive N kg/ha | excessive P kg/ha | excessive k kg/ha | N kg/ha |  | P2O5 kg/ha | K2O kg/ha
wheat
barley
peas*
broad beans*
oat
potato
onion
lettuce and Green-Leaf Crops | 114 | 15.84 | 179.28 | 45.9 | 28.4143 | 218.5714 | 68.1 | 0 | 0 | 0 | -12.5743 | -39.2914 | 0 | 148.0435 | 0 | 0
carrot | 72.5 | 18.7 | 85.075 | 59.7984 | 37.018 | 284.7541 | 12.7016 | 0 | 0 | 0 | -18.318 | -199.6791 | 0 | 27.6123 | 0 | 0
Radish | 290 | 41.36 | 340.3 | 18.3589 | 11.3651 | 87.4235 | 271.6411 | 29.9949 | 252.8765 | 0 | 0 | 0 | 26.8781 | 532.0934 | 149.3227 | 606.9036
Millets | 42.84 | 5.3856 | 27.888 | 81.4036 | 50.3927 | 387.6364 | 0 | 0 | 0 | -38.5636 | -45.0071 | -359.7484 | 0 | 0 | 0 | 0
tomato | 162 | 20.196 | 246.51 | 79.8318 | 49.4197 | 380.1515 | 82.1682 | 0 | 0 | 0 | -29.2237 | -133.6415 | 0 | 178.6265 | 0 | 0
water melon
cucumber | 26 | 8.008 | 37.765 | 57.0208 | 35.2986 | 271.5278 | 0 | 0 | 0 | -31.0208 | -27.2906 | -233.7628 | 0 | 0 | 0 | 0
eggplant | 72.8 | 7.392 | 98.77 | 105.687 | 65.4253 | 503.2716 | 0 | 0 | 0 | -32.887 | -58.0333 | -404.5016 | 0 | 0 | 0 | 0
pepper | 36.3 | 3.8236 | 40.172 | 116.9035 | 72.3689 | 556.6835 | 0 | 0 | 0 | -80.6035 | -68.5453 | -516.5115 | 0 | 0 | 0 | 0
cauliflower | 53 | 7.92 | 66.4 | 62.4167 | 38.6389 | 297.2222 | 0 | 0 | 0 | -9.4167 | -30.7189 | -230.8222 | 0 | 0 | 0 | 0
olive tree
palm tree
alfalfa*
| Area | crops nutrient demand |  |  | N fertiliser demand |  |  |  | P fertiliser demand |  |  |  | K fertiliser demand
crops |  | Total demand N | Total demand P | Total demand K | Annual crop | fall -winter season | spring-summer | Urea | Annual crop | fall -winter season | spring-summer | Diammonium phosphate | Annual crop | fall -winter season | spring-summer | Potassium sulphate
| ha | kg/ha |  |  | N kg/ha |  |  | N Ton/year | P2O5 kg/ha |  |  | P2O5 Ton/year | K2O kg/ha |  |  | K2O Ton/year
wheat | 1032.8913 | 186.32 | 24.112 | 209.2264 |  | 63.7182 |  | 143.0738 |  | 0 |  | 0 |  | 0 |  | 0
barley | 1032.8913 | 121 | 22.264 | 164.34 |  | 35.7137 |  | 80.1922 |  | 0 |  | 0 |  | 0 |  | 0
peas*
broad beans*
oat | 1239.4696 | 137.2 | 21.9912 | 195.216 |  | 78.2174 |  | 210.7567 |  | 0 |  | 0 |  | 7.9696 |  | 23.7075
potato | 413.1565 | 150 | 10.56 | 166.83 |  | 64.25 |  | 57.7072 |  | 0 |  | 0 |  | 0 |  | 0
onion
lettuce and Green-Leaf Crops | 206.5783 | 114 | 15.84 | 179.28 |  | 12.3 | 45.15 | 25.7998 |  | 0 | 0 | 0 |  | 0 | 0 | 0
carrot | 103.2891 | 72.5 | 18.7 | 85.075 |  | 28.3484 | 0 | 6.2691 |  | 0.47869 | 0 | 0.24614 |  | 0 | 0 | 0
Radish | 103.2891 | 290 | 41.36 | 340.3 |  | 269.0076 | 262.4616 | 106.7229 |  | 32.6965 | 29.9949 | 32.2359 |  | 273.6575 | 252.8765 | 130.5246
Millets
tomato | 826.313 | 162 | 20.196 | 246.51 |  |  | 42.2523 | 75.8991 |  |  | 0 | 0 |  |  | 0 | 0
water melon
cucumber
eggplant
pepper
cauliflower
olive tree
palm tree
alfalfa*
[5 empty] | chemical fertiliser requirement ------> |  |  | 706.4208 |  |  |  | 32.4821 |  |  |  | 154.232